## List ; Plates 1 - 1
Plate | Repeat | Well | Type | Time | CPS (CPS)
1 | 1 | A01 | M | 0.00023843 | 47
1 | 1 | A03 | M | 0.00025359 | 2410206
1 | 1 | A05 | M | 0.00026887 | 1614467
1 | 1 | A07 | M | 0.00028403 | 609304
1 | 1 | A09 | M | 0.00029919 | 146246
1 | 1 | A10 | M | 0.00031331 | 2964
1 | 1 | A12 | M | 0.00032847 | 1632
1 | 1 | C01 | M | 0.00037199 | 218
1 | 1 | C03 | M | 0.00038715 | 68
1 | 1 | E01 | M | 0.00042141 | 6869
1 | 1 | E03 | M | 0.00043657 | 1447
1 | 1 | E05 | M | 0.00045174 | 1091
1 | 1 | E07 | M | 0.0004669 | 736
1 | 1 | E09 | M | 0.00048206 | 617
1 | 1 | E11 | M | 0.00049722 | 391

## Plate
Plate | Repeat | End time | Start temp. | End temp. | BarCode
1 | 1 | 11:46:59 | 18.8 | 18.9 | N/A
CPS (CPS)
2
47 |  | 2410206 |  | 1614467 |  | 609304 | 146246 | 2964 |  | 1632
218 |  | 68
6869 |  | 1447 |  | 1091 |  | 736 | 617 |  | 391

## Protocol
Protocol description
Protocol name ..................... ATP-Essay Gewebe
Protocol number ................... N/A
Name of the plate type ............ OptiPlate 96
Number of wells in the plate ...... 8 X 12
Height of the plate ............... 14.6 mm
Offset of the wells ............... 11.240 mm, 14.380 mm
Distance between wells ............ 9.000 mm, 9.000 mm
Number of repeats ................. 1
Delay between repeats ............. 0 s
Measurement height ................ 8.00 mm
Protocol notes ....................
Shaking duration .................. 3.0 s
Shaking speed ..................... Normal
Shaking diameter .................. 0.10 mm
Shaking type ...................... Orbital
Repeated operation ................ Yes
Delay duration .................... 2.0 s
Repeated operation ................ Yes
Name of the label ................. CPS
Label technology .................. Luminometry
Emission filter name .............. No filter
Emission filter slot .............. A7
Measurement time .................. 1.0 s
Emission aperture ................. Normal
Plate map of plate 1
A ¦ M E M E M E M E M M E M
B ¦ E E E E E E E E E E E E
C ¦ M E M E E E E E E E E E
D ¦ E E E E E E E E E E E E
E ¦ M E M E M E M E M E M E
F ¦ E E E E E E E E E E E E
G ¦ E E E E E E E E E E E E
H ¦ E E E E E E E E E E E E
Protocol created by ............... Victor user
Protocol creation date ............ 23.04.2008
Protocol last edited by ........... Victor user
Protocol last edited .............. 11.05.2010
Instrument serial number: ......... 4207447
Assay ID: ........................ 255
Measured on ....................... 11.05.2010 11:46:02

## Notes
Notes for the assay run
The plate map of the assay protocol was replaced by a temporary plate map when starting the assay.
Run started by: Victor user